## Sheet1
channel_name | channel_description (needs to be filled in by AIIMS)
Body | Body position sensor using a gravity switch body position sensors provide a signal that is directly proportional to the patients sleeping posture (supine, prone, left, right or sitting)
ECG_I | ECG Lead I records the electrical potential difference between the right arm (RA) electrode and the left arm (LA) electrode. It is a bipolar lead where the electrodes are placed on the right and left arms. The electrical activity recorded in Lead I shows the difference in potential between these two points
ECG_II | ECG Lead II records the electrical potential difference between the right arm (RA) electrode and the left leg (LL) electrode.It is also a bipolar lead where the electrodes are placed on the right arm and the left leg.Lead II provides information about the electrical activity of the heart from a different perspective compared to Lead I.
ECG_IIHF
EEG_A1_A2 | (Electroencephalography) "A1" typically refers to the electrode placement system known as the international 10-20 system. ‘A" typically denotes electrodes placed on the left side of the head."1" refers to the specific position relative to other electrodes in the system. "A1" specifically refers to the electrode positioned on the left earlobe (Mastoid Process) “A2” refers to the electrode positioned on the Right earlobe (Mastoid Process) This electrode is used as a reference point in EEG recordings to help measure the electrical activity of the brain relative to a stable reference.
EEG_C3_A2 | Left Central Lead reference to A2
EEG_C4_A1 | Right central Lead reference to A1
EEG_F3_A2 | Left frotal lead reference to A2
EEG_F4_A1 | Right Frontal lead reference to A1
EEG_O1_A2 | Left occipital lead reference to A2
EEG_O2_A1 | Right occipital lead reference to A1
Effort_ABD | Provides accurate measurements of thoraco-abdominal movement using Respiratory Inductance Plethysmography (RIP), An elastic Belt is raped around patient's abdomen which produces an elecrical impulse while stretched during inspiration
Effort_THO | Provides accurate measurements of thoraco-abdominal movement,An elastic Belt is raped around patient's chest which produces an elecrical impulse while stretched during inspiration
EMG_Chin | Chin electromyography (EMG) refers to the measurement of electrical activity in the muscles of the chin and jaw region. 3 electrodes are placed over the chin area for recording ,1st front 1 cm above inferior edge of mandible,2nd 2cm below inferior 2cm left of midline,3rd right side of midline
EOG_LOC_A2 | Left EOG with reference to A2,Eye moments are recorded from electrodes placed near the outer canthus of each eye, LOC is placed 1 cm below and lateral the outer canthus of left eye. | Maybe needed for sleep staging
EOG_ROC_A2 | Right EOG with reference to A2 , placed 1cm above and lateral to right eye | Maybe needed for sleep staging
Flow_Patient | Nasal air pressure variations recorded by a nasal canula and a pressure transducer ,
Flow_Patient | Nasal and oral air flow monitoring using pressure transducer/ thermistor (generates impulses by temperature difference between ithe cooler inspiration and warmer expiration.
Flow_Patient
Leak_Total | Leak of Air flow during cpap titration study
Leg_1 | Two electrodes placed approximately 2-3 cm apart on long axis of Anterior tibialis muscle on each leg, impulses generated by leg moments are recorded
Leg_2 | Two electrodes placed approximately 2-3 cm apart on long axis of Anterior tibialis muscle on each leg, impulses generated by leg moments are recorded
Pleth
PressCheck
PulseRate | Pulse rate from Spo2 prob placed on patients finger
RR | Respiatory rate from chest and abdomen belts
Snore | snore sound captured by a microphone
SpO2 | Gives estimate of Spo2 by determinig absorption of two wavelengths of light red light /infra red ,SpO2 stands for peripheral capillary oxygen saturation.
Technical
xPAP_CPAP | Cpap treatement pressure from various lines
xPAP_EPAP
xPAP_IPAP